## RoutineSARF
|  |  | Form 230A Sample Submission Form v022724 | 10653 Progress Way, Cypress, CA 90630
714-657-7527 ¦¦www.foodmicrolabs.com
(Grey) Food Micro Labs Internal Use Only
Lab Receipt Information |  | Submission Date:
Received by : |  | PO# (If N/A leave blank):
Receipt Date: |  | Company Name:
Temperature (C): |  | Company Address:
Receipt Method: | Mail Client Dropoff Pickup | Contact Name:
Discrepancy: | 2nd verified_______ Client contacted________ | Contact Phone #:
Condition received: | Good Poor (Specify):_______________ | Contact Email:
FML COA #:
FML Sample # | Special Sample Instructions | Composite or special sampling request | Sample Description (Use one line per sample/analytical unit) *Will appear on certificate of analysis | REQUESTED ANALYSES Use appropriate test abbreviations & separate tests with a comma *If not specified or unclear, the lab will contact you to determine test/method selection. If clear requests not received ahead of sample arrival, may result in delays. Please reach out to the laboratory with any questions. | Sample Item
Request Instructions for Laboratory:

## Sampling Instructions
Environmental Swabbing Instructions Wash hands with soap & water before handling swabbing materials 1. Before opening, shake the sponge to the end of the bag. 2. Aseptically tear the top perforated plastic strip away from the metal rim. 3. Push sponge toward the opening by manipulating it from the outside of the bag. Do not touch the inside of the bag at this point. 4. Open the mouth of the bag by pulling on the white tabs on the outside. 5. Put on sterile gloves. Place it on the hand by touching only the sleeve end of the glove. At no time should anything touch the outside of the glove fingers. 6. Place the gloved hand inside of the bag and remove the sponge. Gently squeeze out any excess hydrating fluid from the sponge into the bag. 7. Swipe the sponge in a tight pattern across the surface 8. Repeat at a perpendicular angle across the same surface, taking care to ensure sponge does not dry out. Use additional sponges as needed. 9. Place the sponge back into the bag. Remove and dispose the glove. 10. Without touching the opening of the bag, press from the outside to expel excess air and fold bag closed. 11. Fold the metal flaps over to seal the bag. **See image below Considerations * Please ensure swabs are received for testing the same day or the following day after collection and that swabs are stored under refrigerated conditions until either picked up or shipped in insulated packaging with blue ice. * For every sponge used, the sample submission form should include a swab site identifier to appear on the laboratory certificate of analysis. * A separate swab should be provided for each pathogen requested (Listeria, Salmonella, etc.) while a single swab can be submitted for multiple indicator organisms (i.e. aerobic plate count & coliforms). The practice of splitting swabs for multiple tests should be avoided as each swab may have uneven distribution, compromising the recovery of target organisms. | Environmental Air Sampling PDA Air Exposure Plate Recommendations Potato Dextrose Agar (PDA) plates are used to detect airborne yeast and mold when left exposed, with the lid off, to the air for a specified amount of time. SMA Air Exposure Plate Recommendations Standard Methods Agar (SMA) plates are used to detect airborne bacteria/microorganisms when left exposed, with the lid off, to the air for a specified amount of time. An SMA plate generally does not detect yeasts and molds. Air Compressor Testing Recommendations If testing air from an air compressor, it is recommended to expel air directly onto an environmental sponge swab for 15 seconds and test for both Aerobic Plate Count (APC) and Yeast & Mold. Exposure time and limits for air plates: The standard amount of exposure time is 15 minutes, but this can be changed to accommodate the facility requirements. Exposure time should be recorded and the count should not exceed more than 1 cfu per minute of exposure. If the plate is exposed for 15 minutes, the acceptable limit is ≤15 cfu per plate. | Environmental Allergen Swab Collection & Shipping Procedure Sampling/Swabbing 1. Pre-moisten sterile swab by dipping the swab in the extraction solution provided. 2. Using a sterile swab, sample an area 4 in. x 4 in. using a crosshatch technique. 3. Place swab into original tube once sampling is complete. Remember to label each tube. Preparing the swab for shipping | Shipping Directions Swab Sample Submission Instructions: Please ensure swabs are received at the laboratory within the following day after sample collection and that swabs are stored under refrigerated conditions until they are shipped to the lab. Ship via overnight delivery using insulated packaging with ample ice packs to maintain temperatures of less than 7°C / 44°F. Perishable Food Products Submission Instructions: Please ensure perishable food products, including water potability samples are also shipped via overnight delivery and that ample ice packs are including using insulated packaging to maintain refrigerated temperatures. Sample Identification Instructions: All sample description information to appear on the laboratory certificate of analysis should be written on the Sample Submission Form. The completed form can either be included in the package and/or emailed to our Client Service team at clientservices@foodmicrolabs.com. Alternatively, the sample site descriptions from eBacMap can be submitted with the samples (www.ebacmap.com). Shipping Information: All packages should be sent to the address below. Notification will be provided if samples are damaged in transit or temperatures are elevated upon receipt. If possible, it is best to avoid weekend and holiday mailings to minimize possible shipping delays. Additionally, early morning deliveries are not recommended and, if shipping on a Friday, be sure to clarify shipment is for Saturday delivery. Food Microbiological Laboratories, Inc. c/o Sample Receiving 10653 Progress Way Cypress, CA 90630